Title
PC Based Diagnostics Tool
Team 74

---
Team 74
1. Faculty Advisor
  1. Dr. Tragoudas
2. Project Manager
  1. Joseph Lenox (CE)
3. Team
  1. Douglas Palmer (EE)
  2. Tiffany Gallops (CE)
  3. Wesley Tredinnick (EE)

---
Outline
- Executive Summary
- Discussion
  - PC Based Modular Diagnostics Tool
  - Literature Review
  - Plan to Complete
- Work Completed (?)
- The Plan to Complete (?)
- Resources Required

---
Long-term Goal
Executive Summary

---
Customer Wishes
Discussion
- PC Based Modular Diagnostics Tool
  - A device that will combine the abilities of a multimeter, oscilloscope, and a logic analyzer.

---
Overview

---
Multimeter subsystem
- Will work in coordination with the oscilloscope and logic analyzer to acquire data
- Will obtain data on the voltage, current, and resistance
- Schematic design
  will include
  amplifier, ADC,
  and control logic

---
Digital Oscilloscope
- A device that measures voltage signals over time and presents it on a graph.
- Uses
  - Finding the time and voltage values of a signal
  - Finding the frequency of a signal
  - Debug circuit
  - Decipher AC and DC parts of signal
  - Find noise part of a signal

---
Digital Oscilloscope

---
Logic Analyzer
- A device that finds the finds the stats of a digital circuit
- Used to help debug digital circuit
- Oscilloscope can be used for the same thing but a logic analyzer has many more channels so stats of different parts of the circuit can be viewed

---
Logic Analyzer

---
Plan to Complete
- R(esponsible)-A(pproval)-S(upport)-I(nformation)

---
Plan to Complete
Time Line
  - Week 1: Final Component Decision
  - Weeks 2 & 3: Complete Schematics
  - Week 4: Complete Design Verifications
  - Week 6: PCB's Ordered, Test and Develop Software
  - Week 8: Software Complete
  - Week 9: Begin Construction

---
Cost Analysis
Resources Required
- LabVIEW
- Bluetooth Stack Module (WRL-08461)
- Analog/Digital Converters
- Printed Circuit Boards
- Miscellaneous Hardware
- Projected Cost: Approx. $500 material cost