The components of the Design are variants of well-understood components; the following review aims to guide the reader through the basics. Starting with the acquisition components

Multi-meters are well-understood and have several wired implementations in the digital realm. National Instruments sells a basic PCMCIA data acquisition board and provides software to use a consumer PDA as a multimeter[2]. The LabVIEW software is relied upon heavily for processing with this approach.

Digital Signal Oscilloscopes (DSOs) have also been

Digital Oscilloscope
The oscilloscope that is being made in this work has the specs of:
- 1 channel
- Digital
- Communication to a computer/palm pilot
- Accuracy of 1mV
- +5V to -5V input range
- 8ksps (kilo-samples per second)
- Amplification circuit [1]
The work explains how exactly an oscilloscope works. It works by taking voltage levels and then converting those into digital signals using an analog to digital converter chip or ADC. Then using the digital converted signal the oscilloscope then displays it on a screen. It is then discussed how the design and construction of the oscilloscope is done but for the purposes of this project all that really matters is how the oscilloscope works.

Build a Bluetooth Enabled PDA Digital Multimeter with LabVIEW PDA
This discusses how to make a digital multimeter that has Bluetooth capabilities. This instrument is made with just a PDA but has different programming. The design of this is done in a program that is called LabVIEW [2]. The program LabVIEW also designs the PDA that one would use when going by the instructions set here.

Simple Logic Analyser
This tells how to make a simple logic analyzer for less than five dollars. This particular one is simple and does not need an external power supply [3]. Since this particular logic analyzer is works on a computer it will be easy to apply what is in here to the project. In particular it speaks about programs that could be used such as that the author of the website wrote himself, they are written in Verilog. The website then discusses how to possibly take this to further extents like:
- More inputs
- Counter inputs
- Outputs
- Better software
- and USB [3].

The Oscilloscope
This tells about the both analog and digital oscilloscopes. It states that the only difference between the analog and digital oscilloscopes is that the digital oscilloscope that the digital oscilloscope has more hardware to it. [4]

AD7822:  3 V/5 V, 2 MSPS, 8-Bit, 1-/4-/8-Channel Sampling ADCs
This tells about the AD 7822 an analog to digital converter. This particular ADC has the specs that would be beneficial to our project.[5]
The XYZs of Logic Analyzers
This piece of work goes into an in-depth analysis of what a logic analyzer is. It stats that a logic analyzer is sometimes preferred to an oscilloscope because of the amount of data that one can see with a logic analyzer.[6]
[1] http://glory.honour.ca/projects/Oscilloscope/Oscilloscope.html
[2] http://zone.ni.com/devzone/cda/tut/p/id/3052
[3] http://uvasux.googlepages.com/simplelogicanalyser
[4] https://www.cs.tcd.ie/courses/baict/bac/jf/labs/scope/oscilloscope.html
[5] http://www.analog.com/en/analog-to-digital-converters/ad-converters/AD7822/products/product.html
[6] http://web.mit.edu/6.111/www/s2007/handouts/LA.pdf